The following specification text has been prepared to assist design professionals in the preparation of a specification section covering ProPan and PreFormed shower pans by FinPan. These pans are factory fabricated with integral curbs, waterproofing, and Code-required slope built in, ready to receive tile.

Paragraphs in black are intended to be inserted into Specification Section 22 41 23 – Residential Showers, 22 42 23 – Commercial Showers, or similarly titled section governing this work.

Text in red and contained in brackets, e.g. [white] [black], must be edited to suit project requirements.

For assistance in the use of products in this section, contact FinPan, Inc. by calling 800-833-8444 or visit their website at www.finpan.com.

PART 1 - GENERAL

SUBMITTALS

Include the following for submission of product technical data.

A.	Product Data: Manufacturer’s product description and installation instructions.

PART 2 - PRODUCTS

MANUFACTURED UNITS

Include one of the following as applicable to project. Refer to FinPan technical data for assistance in selecting shower pans.

A.	Shower Pans:

1.	Source: ProPan Shower Pan by FinPan, Inc. www.finpan.com [or approved substitute].

2.	Description: Lightweight, high-density expanded polystyrene with fiberglass reinforced mesh and liquid-applied waterproof coating, sloped at 1/4 inch per foot, with drain assembly built in.

3.	Waterproofing membrane: Meet ANSI A118.10.

4.	Shower pan assembly: Meet IAPMO-PS-106, cUPC listed.

5.	Drain fitting: [ABS] [PVC] type, with EBBE brand grate.

6.	Layout: [Center drain.] [Off center drain.]

7.	Size: [__ x __] inches ([__ x __] mm).

**** OR ****

B.	Shower Pans:

1.	Source: PreFormed Shower Pan by FinPan, Inc. www.finpan.com [or approved substitute].

2.	Description: High-density polystyrene with fiberglass reinforced mesh and liquid-applied waterproof coating, sloped at 1/4 inch per foot, with drain assembly built in and concrete backer board side walls.

3.	Waterproofing membrane: Meet ANSI A118.10.

4.	 	Shower pan assembly: Meet IAPMO-PS-106, cUPC listed.

5.	Drain fitting: [ABS] [PVC] type, with EBBE brand grate.

6.	Layout: Center drain.

7.	Size: [__ x __] inches ([__ x __] mm).

PART 3 – EXECUTION

INSTALLATION

A.	Install shower pan in accordance with Code requirements and manufacturer’s instructions.